## Slide 1: Electrostatic Discharge and Grounding Network

## Slide 2: Implications of Poor Operational Practices
Poor Customer Experience
Frequent system downtime
Long repair time
Slow availability of new function
Higher OPEX Costs
Delayed benefits of innovation
Lack of flexibility
Function duplication
Manual processes
Increased Unquantifiable Risk
Unforeseen vulnerabilities
Security breaches
Data loss

## Slide 3
High Availability – Average Cost of Impact

## Slide 4: Large ESD Charges Are Generated By:
Types of ESD Damage to Electronic Products
Catastrophic: Sudden and complete crash of the system
Cumulative: Device failures / silent failures
Latent: Failure over time
Walking across inadequate carpet material:
1,500 - 35,000 volts
Walking over untreated vinyl floor:
250 - 12,000 volts
Handling a vinyl envelope:
600 - 7,000 volts
Worker at an ungrounded bench:
700 - 6,000 volts
Unwinding regular tape:
9,000 - 15,000 volts

## Slide 6: Electrical Current Types
First Type:
Current flows easily from / to metals and people
Can be grounded
Second Type:
Electrical current does not flow easily
Plastics CANNOT be grounded
Typically very high charging

## Slide 7
Cisco Recommendations to Manage ESD and Secure Proper Grounding Installation
Step by Step Cisco Best Practices

## Slide 8: Define the Areas Where Network Products Are Handled or Installed
Network Operations Center
Inspect
Receive
Store
1

## Slide 9: Identify Control Level Based on Level of Potential Exposure
Network Operations Center
Inspect
Receive
Store
High Level I
Mid Level II
Low Level III
High Level I
Mid Level II
Mid Level II
Low Level III
2

## Slide 10: Use Appropriate Symbols to Identify Areas Where Sensitive Items Will Be Handled
High Level I
Network Operations Center
Network Operations Center
High Level I
3

## Slide 11: Prepare the Location – Make Sure the Building is Properly Grounded
4
Earth Ground

## Slide 12: Ground Work Stations Where Network Products Are Physically Handled
Ground Point
Ground Point
Ground Point
Ground Point
High Level I
5

## Slide 13: Prepare Rack Room – Connect Properly to Earth Ground
High Level I
6
Earth Ground

## Slide 14: Ground Work Stations Areas When Physically Handling Network Products
Example of Good (check mark) workstation
High Level I
7

## Slide 15: Ground Network Products According to Product Documentation Instructions
A - Grounding in an electronic equipment room with an existing grounding grid beneath the floor
Building Steel Columns
Fake- Upper Floor
Grounding / Signal Reference Grid
Network Product
Welded – Bounding Strap
Power Center
8
Always

## Slide 16: Ground Network Products According to Product Documentation Instructions
B - Grounding in an electronic equipment room without an existing grounding grid beneath the floor
9
Always

## Slide 17: Use Resistive Grounding and Insulating Materials
High Level I
Mid Level II
100% Cotton
Wheels
Wrist Strap
Foot Strap
10

## Slide 18: Provide Appropriate Ground Paths to Avoid Generation and Accumulation of Static
Floor mats / floor finishes -insulating floor
High Level I
11

## Slide 19: Always Carry Sensitive Items Inside ESD Bags
High Level I
Mid Level II
Low Level III
Always
12

## Slide 20: Always Place ESD-Sensitive Items on a Protected ESD Surface
Protected ESD mat
High Level I
Mid Level II
Low Level III
Always
13

## Slide 21: Touch ONLY If You Are Grounded or Your Body Static Charge Has Been Neutralized
High Level I
Mid Level II
Low Level III
Always
14

## Slide 22: Touch ONLY If You Are Grounded or Your Body Static Charge Has Been Neutralized
15
High Level I
Mid Level II
Low Level III
Always

## Slide 23: To Store or Ship, Always Pack Inside ESD Bags and Corrugated Product Boxes
16
High Level I
Mid Level II
Low Level III
Always